{"text_format":"1","workbook":"xlsx","n_sheets":30,"sheets":["Plan1","Plan2","Plan3","Plan4","Plan5","Plan6","Plan7","Plan8","Plan9","Plan10","Plan11","Plan12","Plan13","Plan14","Plan15","Plan16","Plan17","Plan18","Plan19","Plan20","Plan21","Plan22","Plan23","Plan24","Plan25","Plan26","Plan27","Plan28","Plan29","Plan30"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Plan1","index":0,"n_rows":54,"n_cols":11,"rows_kept":54,"cut":false,"hidden":false,"merged":[[50,1,50,2],[50,3,50,5],[50,6,50,7],[47,6,47,7],[45,1,45,2],[45,3,45,5],[45,6,45,7],[41,3,41,5],[41,6,41,7],[27,6,27,7],[28,1,28,2],[53,1,53,2],[53,3,53,5],[53,6,53,7],[49,1,49,2],[6,1,6,2],[6,3,6,5],[6,6,6,7],[7,1,7,2],[7,3,7,5],[7,6,7,7],[8,6,8,7],[12,1,12,2],[12,3,12,5],[28,3,28,5],[14,3,14,5],[14,6,14,7],[8,3,8,5],[23,3,23,5],[23,6,23,7],[21,3,21,5],[21,6,21,7],[22,3,22,5],[29,1,29,2],[28,6,28,7],[34,1,34,2],[34,3,34,5],[32,3,32,5],[42,1,42,2],[42,3,42,5],[40,3,40,5],[40,6,40,7],[34,6,34,7],[30,6,30,7],[39,1,39,2],[32,6,32,7],[27,1,27,2],[27,3,27,5],[4,6,4,7],[2,6,2,7],[12,6,12,7],[5,1,5,2],[5,3,5,5],[5,6,5,7],[4,1,4,2],[4,3,4,5],[10,1,10,2],[9,3,9,5],[10,3,10,5],[10,6,10,7],[2,1,2,2],[2,3,2,5],[9,1,9,2],[14,1,14,2],[20,1,20,2],[15,1,15,2],[15,3,15,5],[15,6,15,7],[23,1,23,2],[20,3,20,5],[30,3,30,5],[44,3,44,5],[44,6,44,7],[42,6,42,7],[41,1,41,2],[43,1,43,2],[48,1,48,2],[43,3,43,5],[43,6,43,7],[44,1,44,2],[36,3,36,5],[36,6,36,7],[35,1,35,2],[33,3,33,5],[33,6,33,7],[0,0,1,10],[49,3,49,5],[49,6,49,7],[52,1,52,2],[52,3,52,5],[52,6,52,7],[51,1,51,2],[51,3,51,5],[51,6,51,7],[24,3,24,5],[24,6,24,7],[33,1,33,2],[31,3,31,5],[31,6,31,7],[32,1,32,2],[25,1,25,2],[25,3,25,5],[25,6,25,7],[26,1,26,2],[26,3,26,5],[26,6,26,7],[31,1,31,2],[29,3,29,5],[29,6,29,7],[11,1,11,2],[11,3,11,5],[11,6,11,7],[8,1,8,2],[18,1,18,2],[19,3,19,5],[19,6,19,7],[22,6,22,7],[21,1,21,2],[16,1,16,2],[16,3,16,5],[16,6,16,7],[17,1,17,2],[17,3,17,5],[17,6,17,7],[20,6,20,7],[22,1,22,2],[18,3,18,5],[18,6,18,7],[19,1,19,2],[9,6,9,7],[48,6,48,7],[46,3,46,5],[46,6,46,7],[46,1,46,2],[47,1,47,2],[47,3,47,5],[48,3,48,5],[13,1,13,2],[13,3,13,5],[13,6,13,7],[24,1,24,2],[39,3,39,5],[39,6,39,7],[40,1,40,2],[37,3,37,5],[37,6,37,7],[38,1,38,2],[38,3,38,5],[38,6,38,7],[37,1,37,2],[35,3,35,5],[35,6,35,7],[36,1,36,2],[30,1,30,2]]}
["TRANSFORMADORES DE LAMINAS AÇO SILÍCIO  "]
[]
["REF","POTÊNCIA",null,"TIPO",null,null,"PESO kg",null,"LIGAÇÃO","FIXAÇÃO","BASE X ALTURA"]
[]
[1,0.6,null,"10-10 CI",null,null,0.1,null,"IMPRESSO","8 TER PLACA","30 X 35 X 28"]
[2,1.5,null,"10-15 CI",null,null,0.12,null,"IMPRESSO","8 TER PLACA","30 X 35 X 32"]
[3,2.4,null,"13-13CICD",null,null,0.15,null,"IMPRESSO","10 TER PLACA","34 X 42 X 33"]
[4,4.5,null,"16-16 CICD",null,null,0.25,null,"IMPRESSO","10 TER PLACA","40 X 48 X 36"]
[5,5,null,"13-20PT",null,null,0.24,null,"TERMINAIS SOLDA","2 P      50 mm","62 X 52 X 38"]
[6,3.3,null,"13-16ST",null,null,0.2,null,"CABINHOS","2 P      50 mm","62 X 48 X 38"]
[7,5,null,"16-16ST",null,null,0.26,null,"CABINHOS","2 P  60 mm","75 X 40 X 43"]
[8,9,null,"16-22PT",null,null,0.36,null,"TERMINAIS SOLDA"," 2 P 64 mm","80 X 45 X 44"]
[9,10,null,"19-20ST",null,null,0.42,null,"CABINHOS","2 P  70 mm","90 X 60 X 51 "]
[10,19,null,"22-24ST",null,null,0.78,null,"CABINHOS","2 P  80 mm","98 X 60 X 60 "]
[11,31,null,"22-30PT",null,null,0.85,null,"TERMINAIS SOLDA","2 p  85 mm","105 x 75 x 60"]
[12,82,null,"29-38PT",null,null,1.9,null,"TERMINAIS SOLDA","4 p  66 - 71 mm","88 x 88 x 75"]
[13,190,null,"32-52PT",null,null,3,null,"TERMINAIS SOLDA","4 p   78-79 mm","97 x 98 x 83"]
[14,4.7,null,"13-20TP",null,null,0.22,null,"TAMPAS/CABINHOS","2 P      50 mm","62 X 52 X 38"]
[15,30,null,"25-26ST",null,null,1.1000000000000001,null,"CABINHOS","2 P  95 mm","115 X 55 X 67 "]
[16,"audio",null,"5-5CI",null,null,1.2999999999999999E-2,null,"IMPRESSO","4 TER PLACA","20 X 16 X 16"]
[17,46,null,"25-32PT",null,null,1.2,null,"TERMINAIS SOLDA","4 P 62 - 56 ","78 X 75 X 65 "]
[18,12,null,"19-22PT",null,null,0.49,null,"TERMINAIS SOLDA","2 P  70 mm","90 X 60 X 51 "]
[19,30,null,"22-30ST",null,null,0.82,null,"CABINHOS","2 P 85 mm","100 X 58 X 59 "]
[20,30,null,"22-30CI",null,null,0.82,null,"IMPRESSO","12 P PLACA","67 X 56 X 60 "]
[21,1.4,null,"10-15ST",null,null,0.13,null,"CABINHOS","2 P 44 mm","48 X 32 X 33"]
[22,5,null,"13-20CI",null,null,0.2,null,"IMPRESSO","4 TER PLACA","34 X 41 X 40 "]
[23,9,null,"16-22CI",null,null,0.32,null,"IMPRESSO","5 TER  PLACA","40 X 48 X 43"]
[24,4.7,null,"13-20ST",null,null,0.23,null,"CABINHOS","2 P  51 mm","62 X 52 X 38"]
[25,750,null,"44-67TP",null,null,8.1,null,"TAMPAS/BORNES"," 4 P 100 - 95 mm","120 X 135 X 110"]
[26,120,null,"32-42ST",null,null,2.2999999999999998,null,"CABINHOS","4 P 80 - 70 mm","97 X 90 X 84"]
[27,120,null,"32-42TP",null,null,2.6,null,"TAMPAS/BORNES","4 P 64 - 67 mm","80 X 98 X 99"]
[28,160,null,"38-40TP",null,null,3.5,null,"TAMPAS/BORNES","4 P  76 - 70 mm","95 X 96 X 116"]
[29,190,null,"32-52TP",null,null,3.4,null,"TAMPAS/BORNES","4 P  64 - 79 mm","80 X 101 X 99"]
[30,300,null,"38-48TP",null,null,4.5,null,"TAMPAS/BORNES","4 P 76 - 81 mm","95 X 121 X 116"]
[31,400,null,"50-50TP",null,null,8,null,"TAMPAS/BORNES","4 P 102 - 85 mm","127 X 117 X 155 "]
[32,500,null,"50-53TP",null,null,8.6,null,"TAMPAS/BORNES","4 P 102 - 89 mm","127 X 121 X 155"]
[33,750,null,"50-65TP",null,null,11,null,"TAMPAS/BORNES","4 P 102 -104 mm","127 X 136 X 155"]
[34,1150,null,"50-80TP",null,null,12.5,null,"TAMPAS/BORNES","4 P  101 -125 mm","130 X 200 X 155"]
[35,75,null,"25-42ST",null,null,1.5,null,"CABINHOS","4 P 62 - 63 ","78 X 78 X 65 "]
[36,100,null,"29-43PT",null,null,2,null,"TERMINAIS SOLDA","4 P  70 - 71 mm","88 x 92 x 75"]
[37,450,null,"38-66TP",null,null,5.5,null,"TAMPAS/BORNES","4P  76 - 90 mm","96 X 155 X 120"]
[38,15,null,"16-30ST",null,null,0.4,null,"CABINHOS","2 P  65 mm","80 X 50 X 40 "]
[39,2,null,"13-13CI",null,null,0.15,null,"IMPRESSO","8 TER PLACA","34 X 42 X 42"]
[40,0.6,null,"10-10ST",null,null,0.12,null,"CABINHOS","2 P 44 mm","48 X 30 X 33"]
[41,18,null,"22-25PT",null,null,0.65,null,"TERMINAIS SOLDA","2 P  78 mm","98 X 68 X 60"]
[42,48,null,"29-29ST",null,null,1.5,null,"CABINHOS","4 p  66 - 65 mm","88 x 82 x 75"]
[43,2500,null,"60-100CT",null,null,22.5,null,"CANTONEIRAS/BORNES","4 P 160 - 145 mm","180 x 200 x 150 "]
[44,30,null,"25-25PT",null,null,1.1000000000000001,null,"TERMINAIS SOLDA","4 P 62 - 50 ","78 X 70 X 65 "]
[45,4000,null,"80-95CT",null,null,36.299999999999997,null,"CANTONEIRAS/BORNES","4 P 205 - 205 mm","240 X 220 X 200"]
[46,5,null,"16-16PT",null,null,0.26,null,"TERMINAIS SOLDA","10 TER PLACA","48 X 40 X 38"]
[47,9,null,"16-23ST",null,null,0.36,null,"CABINHOS"," 2 P 64 mm","80 X 45 X 44"]
[48,2.4,null,"13-13PT",null,null,0.15,null,"TERMINAIS SOLDA","2 P      50 mm","62 X 46 X 38"]
[49,240,null,"32-60TP",null,null,3.4,null,"TAMPAS/BORNES","4 p   78-87 mm","97 x 106 x 83"]
[50,23,null,"19-30PT",null,null,0.7,null,"TERMINAIS SOLDA","2 P  70 mm","90 X 70 X 51 "]

{"sheet":"Plan2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan4","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan5","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan6","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan7","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan8","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan9","index":8,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan10","index":9,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan11","index":10,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan12","index":11,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan13","index":12,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan14","index":13,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan15","index":14,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan16","index":15,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan17","index":16,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan18","index":17,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan19","index":18,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan20","index":19,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan21","index":20,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan22","index":21,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan23","index":22,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan24","index":23,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan25","index":24,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan26","index":25,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan27","index":26,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan28","index":27,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan29","index":28,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Plan30","index":29,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}